## ELE_META
CURRENT |  | NEW
DATA FROM ELECTRICITY NETWORK OPERATOR, LINE OPERATOR, ISOLATED NETWORK OPERATOR, CHARGING POINT OPERATOR, PRODUCER OPERATOR |  | DATA FROM ELECTRICITY NETWORK OPERATOR, LINE OPERATOR, ISOLATED NETWORK OPERATOR, CHARGING POINT OPERATOR, PRODUCER OPERATOR
Metadata element | Description | Metadata element | Description
Metering point EIC code | EIC Z code | Metering point EIC code | EIC Z code
W-Kood | Production unit EIC W code | W-Kood | EIC W code
Metering type | REMOTE_READING | Meter type | REMOTE_READING
| VIRTUAL |  | VIRTUAL
| SINGLE_TARIFF_MANUAL |  | NON_REMOTE_READING
| DUAL_TARIFF_MANUAL | Metering data resolution | 15 min
| ISOLATED |  | 1 hour
Consumption type in the metering point | CONSUMER | Consumer type in the metering point | CONSUMER
| GRID_OPERATOR |  | GRID_OPERATOR
| PRODUCER |  | PRODUCER
| MICRO |  | MICRO
| LINE_OPERATOR |  | LINE_OPERATOR
ENERGY_STORAGE_UNIT
CHARGING_POINT_OPERATOR
Consumption volume at a metering point | SMALL - väiketarbija | Consumption volume at a metering point | SMALL - up to 63A
| LARGE - suurtarbija |  | LARGE - More than 63A
|  | Production in the metering point | YES/NO
|  | Source of production | Solar
Wind
Hydro
Biogas
Biomass (incl waste)
Gas
Oil shale
Other renewable production
Other non-renewable production
Connection state | CONNECTED - ühendatud | Connection state | CONNECTED - ühendatud
| DISCONNECTED - katkestatud |  | DISCONNECTED - katkestatud
Border point | yes - border point (network agreement client is network operator) | Border point | yes - border point (network agreement client is network operator)
| no - regular metering point |  | no - regular metering point
Isolated metering point | yes | Isolated metering point | yes
| no |  | no
Electrical heating | yes | Electrical heating | yes
| no |  | no
|  | Charging point | yes
no
|  | Apartment association | yes
no
County | County – ADS | County | County – ADS
Municipality | Municipality – ADS | Municipality | Municipality – ADS
Locality | Locality – ADS | Locality | Locality – ADS
Local address | Local address – advisable ADS | Local address | Local address – advisable ADS
Postal code | Postal code – ADS | Postal code | Postal code – ADS
|  | Comment | Additional information important to distinguish the object (e.g. "street lighting", "own consumption" etc)
|  | ID | Address ID (ADS)
Point of network losses | yes | Point of network losses | yes
| no |  | no
Metering point longitude | Longitude | Metering point longitude | Longitude
Metering point latitude | Latitude | Metering point latitude | Latitude
|  | Storage capacity | Storage capacity (kW) according to network agereement
|  | Storage capacity - energy | Energy storage capacity, kWh
|  | Production capacity | Production capacity (kW) in connection point according to network agreement
|  | Transmission capacity | Transmission capacity (kW) in connection point according to network agreement
|  | Transmission network substation (selection) | Metering point connection to Elering's substation
Network agreement customer code |  | Network agreement customer code
Network agreement customer name |  | Network agreement customer name
Network agreement first date |  | Network agreement first date
Network agreement last date |  | Network agreement last date
Network agreement ID
CURRENT |  | NEW
DATA FROM OPEN SUPPLIER |  | DATA FROM OPEN SUPPLIER
Metering point EIC code | Metering point EIC code as set in network agreement | Metering point EIC code | Metering point EIC code as set in network agreement
Customer EIC-code | Customer EIC X-code (same person as network agreement customer) | Customer EIC-code | Customer EIC X-code (same person as network agreement customer)
Open supply agreement first date |  | Open supply agreement first date
Open supply agreement last date |  | Open supply agreement last date
|  | Fee for preliminary open supply agreement termination | YES/NO
DATA FROM AGGREGATOR
|  | Metering point EIC code | Metering point EIC code as set in network agreement
Customer EIC-code
|  | SUB-EIC code | Aggregator metering point EIC code connected to network agreement and network metering point
Aggregator EIC code
Aggregation agreement first date
Aggregation agreement last date
DATA INCLUDED BY ELERING
|  | Metadata element | Description
|  | Production unit EIC W-code | EIC registry
|  | Metering point building ID | to be solved via Datahub-Register of buildings data exchange based on address data
|  | Production details | From renewable energy information systems
|  | Legal persons' details | Field of operation based on EMTAK codes, energy intensive consumer
|  | Metering point longitude | Longitude
|  | Metering point latitude | Latitude

## GAS_META
CURRENT |  | NEW
DATA FROM GAS NETWORK OPERATOR |  | DATA FROM GAS NETWORK OPERATOR, LNG OPERATOR
Metadata element | Description | Metadata element | Description
Metering point EIC code | EIC Z-code; Datahub guarantees the uniqueness of the codes. | Metering point EIC code | EIC Z-code; Datahub guarantees the uniqueness of the codes.
Metering type | REMOTE_READING – remotely read meter | Meter type | REMOTE_READING – remotely read meter
| VIRTUAL – metering data is calculated (meter is not located in the connection point) |  | VIRTUAL – metering data is calculated (meter is not located in the connection point)
| NON_REMOTE_READING - non-remotely read meter |  | NON_REMOTE_READING - non-remotely read meter
|  | Metering data resolution | HOUR - metering data is read and submitted in 1h resolution
DAY - metering data is submitted into the first hour of the gas day
Consumer type in the metering point | CONSUMER (non-protected consumer group 1 (slowly disconnectable, more than 6h)) | Consumer type in the metering point | CONSUMER (non-protected consumer group 1 (slowly disconnectable, more than 6h))
| CONSUMER_2 (non-protected consumer group 1 (quickly disconnectable, less than 6h)) |  | CONSUMER_2 (non-protected consumer group 1 (quickly disconnectable, less than 6h))
| GRID_OPERATOR (grid operator) |  | GRID_OPERATOR (grid operator)
| PRODUCER |  | PRODUCER
| PROTECTED (protected consumer/household consumer), |  | PROTECTED (protected consumer/household consumer),
| PROTECTED_OTHER (other protected customer) |  | PROTECTED_OTHER (other protected customer)
| GENERAL_INTEREST_SERVICE_PROVIDER (consumer providing general interest service) |  | GENERAL_INTEREST_SERVICE_PROVIDER (consumer providing general interest service)
| POWER_PRODUCER_FROM_GAS (consumer producing electricity from gas) |  | POWER_PRODUCER_FROM_GAS (consumer producing electricity from gas)
LNG operator
|  | Production in the metering point | YES/NO
|  | Source of production | Biogas
Consumption volume at a metering point | SMALL - väiketarbija | Consumption volume at a metering point | SMALL
| LARGE - suurtarbija |  | LARGE
Connection state | CONNECTED | Connection state | CONNECTED
| DISCONNECTED |  | DISCONNECTED
Border point | yes - border point (network agreement client is network operator) | Border point | yes - border point (network agreement client is network operator)
| no - regular metering point |  | no - regular metering point
|  | Apartment association | yes
no
Address (standard) | Rules: Address must conform with ADS standard (validation by Datahub) | Address (standard) | Rules: Address must conform with ADS standard (validation by Datahub)
County | County – ADS | County | County – ADS
Municipality | Municipality – ADS | Municipality | Municipality – ADS
Locality | Locality – ADS | Locality | Locality – ADS
Local address | Local address – advisable ADS | Local address | Local address – advisable ADS
Postal code | Postal code – ADS | Postal code | Postal code – ADS
|  | Comment | Additional information important to distinguish the object (e.g. "street lighting", "own consumption" etc)
|  | ID | Address ID (ADS)
|  | Transmission network GMS (selection) | Metering point connection to Elering's GMS
Network agreement customer EIC | Customer EIC X-code | Network agreement customer code
Network agreement first date |  | Network agreement first date
Network agreement last date |  | Network agreement last date
Network agreement ID
DATA FROM OPEN SUPPLIER |  | DATA FROM OPEN SUPPLIER
Metering point EIC code | Metering point EIC code as set in network agreement | Metering point EIC code | Metering point EIC code as set in network agreement
Customer EIC-code | Customer EIC X-code (same person as network agreement customer) | Customer EIC-code | Customer EIC X-code (same person as network agreement customer)
Open supply agreement first date |  | Open supply agreement first date
Open supply agreement last date |  | Open supply agreement last date
|  | Fee for preliminary open supply agreement termination | YES/NO